|  |
| --- |
| **To be completed by BEC** |
| Beckman Coulter P/N:  |  |
| Oracle Description:  |  |
| Supplier:  |  |
| Manufacturer & mfg p/n:  |  |

|  |
| --- |
| **To be completed by Supplier** |
| Manufacturer & mfg p/n:  | *Phytec Messtechnik GmbH* |
| Why is this part going EOL? | *MT9V024 camera sensor (OnSemi) was discontinued* |
| Are other BEC part numbers also EOL due to this issue? | *Not known* |
| Are Other BEC sites affected? | *Not known* |
| Last sale date? | *28.02.2023* |
| Current remaining stock level at supplier  | *0* |
| **Is there a Bridge Buy / Life Time Buy opportunity?** | *Yes, in the form of a frame contract* |
| Latest date to place BB/LTB: | *28.02.2023* |
| Max quantity for BB/LTB: | *No restriction* |
| **Is there a recommended replacement item?** | *Yes* |
| New item manufacturer & p/n:  | *AK120-KSP01* |
| New item sample price & lead time | *253,73€ (4 weeks)* |
| New item serial production price & lead time | *223,88€ EP for 100 piece* |
| What is planned EOL date of new item? | *Not known* |
| **Technical differences old vs. new item** |
| What is different between existing & replacement item? | *Sensor (OnSemi AR0234CS).* |
| Fit/Form/Function/Formulation | *Identical* |
| Mounting/interface/connection | *Identical* |
| Material changes | *Identical* |
| Is new item: |
| RoHS III | *Yes* | REACH | *Not affected* |
| UL | *No* | Other? | *<list any>* |
| CCC | *No* | Other? | *<list any>* |