|  |  |
| --- | --- |
| **To be completed by BEC** | |
| Beckman Coulter P/N: |  |
| Oracle Description: |  |
| Supplier: |  |
| Manufacturer & mfg p/n: |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **To be completed by Supplier** | | | | |
| Manufacturer & mfg p/n: | | *Phytec Messtechnik GmbH* | | |
| Why is this part going EOL? | | *MT9V024 camera sensor (OnSemi) was discontinued* | | |
| Are other BEC part numbers also EOL due to this issue? | | *Not known* | | |
| Are Other BEC sites affected? | | *Not known* | | |
| Last sale date? | | *28.02.2023* | | |
| Current remaining stock level at supplier | | *0* | | |
| **Is there a Bridge Buy / Life Time Buy opportunity?** | | *Yes, in the form of a frame contract* | | |
| Latest date to place BB/LTB: | | *28.02.2023* | | |
| Max quantity for BB/LTB: | | *No restriction* | | |
| **Is there a recommended replacement item?** | | *Yes* | | |
| New item manufacturer & p/n: | | *AK120-KSP01* | | |
| New item sample price & lead time | | *253,73€ (4 weeks)* | | |
| New item serial production price & lead time | | *223,88€ EP for 100 piece* | | |
| What is planned EOL date of new item? | | *Not known* | | |
| **Technical differences old vs. new item** | | | | |
| What is different between existing & replacement item? | | *Sensor (OnSemi AR0234CS).* | | |
| Fit/Form/Function/Formulation | | *Identical* | | |
| Mounting/interface/connection | | *Identical* | | |
| Material changes | | *Identical* | | |
| Is new item: | | | | |
| RoHS III | *Yes* | | REACH | *Not affected* |
| UL | *No* | | Other? | *<list any>* |
| CCC | *No* | | Other? | *<list any>* |